## All Sites
Program | Site | Sub-site | Alternative site name? | Lat | Long | Datum | Elevation | Vertical Datum | 2016 NLCD Land Cover | Aridity index | Mean annual precipitation | Evapotranspiration | Soil CO2 Data? | Link to data on all sites, field methods, and lab methods | Site Link | notes
CCZO | Research Area 1 (R1) | R1P1 | CCZO pine forest | 34.6074 | -81.7228 | WGS84 | 190 | EGM96 | 42 | https://www.mrlc.gov/data/legends/national-land-cover-database-2016-nlcd2016-legend | 1250 mm | 850 mm | yes |  | http://criticalzone.org/calhoun/infrastructure/field-area/calhoun-czo-research-area-1/#data
CCZO | Research Area 1 (R1) | R1P2 | CCZO pine forest | 34.6081 | -81.7225 | WGS84 | 190 | EGM96 | 42 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1C1 | CCZO cultivated field | 34.6101 | -81.727 | WGS84 | 184 | EGM96 | 81 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1C2 | CCZO cultivated field | 34.6115 | -81.7279 | WGS84 | 184 | EGM96 | 81 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1C3 | CCZO cultivated field | 34.6092 | -81.728 | WGS84 | 184 | EGM96 | 81 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1H1 | CCZO hardwood forest | 34.6064 | -81.7233 | WGS84 | 194 | EGM96 | 41 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1T1 | CCZO Pine Flux Tower | 34.6064 | -81.7233 | WGS84 | 180-190 | EGM96 | 41 |  | 1250 mm | 850 mm | yes |  | http://criticalzone.org/calhoun/infrastructure/field-area/calhoun-pine-flux-tower/
CCZO | Research Area 1 (R1) | R1T2 | CCZO Pine Flux Tower | 34.6106 | -81.7176 | WGS84 | 180-190 | EGM96 | 42 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1T3 | CCZO Pine Flux Tower | 34.6098 | -81.718 | WGS84 | 180-190 | EGM96 | 42 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1T4 | CCZO Pine Flux Tower | 34.6105 | -81.7197 | WGS84 | 180-190 | EGM96 | 42 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1T5 | CCZO Pine Flux Tower | 34.6091 | -81.7181 | WGS84 | 180-190 | EGM96 | 42 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1T6 | CCZO Pine Flux Tower | 34.6101 | -81.7188 | WGS84 | 180-190 | EGM96 | 42 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 1 (R1) | R1T7 | CCZO Pine Flux Tower | 34.6097 | -81.7195 | WGS84 | 180-190 | EGM96 | 42 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 4 | R4H1 | CCZO hardwood forest | 34.5982 | -81.6758 | WGS84 | 150-170 | EGM96 | 41 |  | 1250 mm | 850 mm | yes |  | http://criticalzone.org/calhoun/infrastructure/field-area/calhoun-czo-research-area-4/
CCZO | Research Area 4 | R4P1 | CCZO pine forest | 34.5988 | -81.6838 | WGS84 | 150-170 | EGM96 | 41 |  | 1250 mm | 850 mm | yes
CCZO | Research Area 7 | R7H1 | CCZO hardwood forest | 34.5421 | -81.7548 | WGS84 | 160-170 | EGM96 | 41 |  | 1250 mm | 850 mm | yes |  | http://criticalzone.org/calhoun/infrastructure/field-area/calhoun-czo-research-area-7/
CCZO | Research Area 7 | R7P1 | CCZO pine forest | 34.5415 | -81.7555 | WGS84 | 160-170 | EGM96 | 42 |  | 1250 mm | 850 mm | yes

## R1C1
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
PTemp_C_Avg | CR1000 panel temperature in deg C |  | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor |  | 0 | yes |  | https://www.hydroshare.org/resource/57a0afc2bb0e42b180478668a565720d/
CO2_50cm_Avg | percent CO2 at 50cm depth | 50 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Vaisala | 0 | yes
CO2_150cm_Avg | percent CO2 at 150cm depth | 150 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Vaisala | 0 | yes
T108_C_0cm_Avg | Soil surface temperature in C | 0 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor |  | 0 | yes
Temp_C_box_Avg | TypeC termocouple temperature inside the datalogger box in deg. C |  | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor |  | 0 | yes
VWC_50cm_Avg | Volumetric water content via TDR at 50cm (m3/m3) | 50 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
EC_50cm_Avg | Electrical conductivity via TDR at 50cm (dS/m) | 50 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
T_TDR50cm_Avg | Temperature at 50cm via TDR deg. C | 50 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
P_50cm_Avg | Bulk dielectric Permittivity at 50cm via TDR (unitless ) | 50 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
PA_50cm_Avg | Period average at 50cm via TDR (μSec) | 50 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
VR_50cm_Avg | Voltage Ratio at 50cm (unitless) via TDR | 50 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
T_O2_50cm_degC_Avg | Temperature at 50cm depth via via O2 sensor deg. C | 50 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
T_O2_150cm_degC_Avg | Temperature at 150cm depth via via O2 sensor deg. C | 150 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
pct_O2_50cm_Avg | Percent oxygen at 50cm depth | 50 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
pct_O2_150cm_Avg | Percent oxygen at 150cm depth | 150 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
T_TDR25cm_Avg | Temperature at 25cm via TDR deg. C | 25 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
VWC_25cm_Avg | Volumetric water content at 25cm via TDR (m3/m3) | 25 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
EC_25cm_Avg | Electrical conductivity at 25cm via TDR (dS/m) | 25 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
P_25cm_Avg | Bulk dielectric Permittivity at 25cm via TDR (unitless ) | 25 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
PA_25cm_Avg | Period average at 25cm via TDR (μSec) | 25 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
VR_25cm_Avg | Voltage Ratio at 25cm (unitless) via TDR | 25 | 45000 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
O2_pct | O2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes |  | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes

## R1C2
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-13 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-13 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-13 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-13 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-13 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-13 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-13 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-13 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-13 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Soil geochemistry | oxides, various metals | various (0-800) |  |  | 2016 |  |  | MS or ICP |  |  |  | https://www.hydroshare.org/resource/75de7aa9cc69489a828dc4f4216cefeb/
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes

## R1C3
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 20 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Soil geochemistry | oxides, various metals | various (0-800) |  |  | 2016 |  |  | MS or ICP |  |  |  | https://www.hydroshare.org/resource/75de7aa9cc69489a828dc4f4216cefeb/
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes

## R1H1
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
PTemp_C_Avg | CR1000 panel temperature in deg C |  | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor |  | 0 | yes |  | https://www.hydroshare.org/resource/57a0afc2bb0e42b180478668a565720d/
CO2_50cm_Avg | percent CO2 at 50cm depth | 50 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Vaisala | 0 | yes
CO2_150cm_Avg | percent CO2 at 150cm depth | 150 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Vaisala | 0 | yes
T108_C_0cm_Avg | Soil surface temperature in C | 0 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor |  | 0 | yes
Temp_C_box_Avg | TypeC termocouple temperature inside the datalogger box in deg. C |  | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor |  | 0 | yes
VWC_50cm_Avg | Volumetric water content via TDR at 50cm (m3/m3) | 50 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
EC_50cm_Avg | Electrical conductivity via TDR at 50cm (dS/m) | 50 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
T_TDR50cm_Avg | Temperature at 50cm via TDR deg. C | 50 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
P_50cm_Avg | Bulk dielectric Permittivity at 50cm via TDR (unitless ) | 50 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
PA_50cm_Avg | Period average at 50cm via TDR (μSec) | 50 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
VR_50cm_Avg | Voltage Ratio at 50cm (unitless) via TDR | 50 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
T_O2_50cm_degC_Avg | Temperature at 50cm depth via via O2 sensor deg. C | 50 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
T_O2_150cm_degC_Avg | Temperature at 150cm depth via via O2 sensor deg. C | 150 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
pct_O2_50cm_Avg | Percent oxygen at 50cm depth | 50 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
pct_O2_150cm_Avg | Percent oxygen at 150cm depth | 150 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
T_TDR25cm_Avg | Temperature at 25cm via TDR deg. C | 25 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
VWC_25cm_Avg | Volumetric water content at 25cm via TDR (m3/m3) | 25 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
EC_25cm_Avg | Electrical conductivity at 25cm via TDR (dS/m) | 25 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
P_25cm_Avg | Bulk dielectric Permittivity at 25cm via TDR (unitless ) | 25 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
PA_25cm_Avg | Period average at 25cm via TDR (μSec) | 25 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
VR_25cm_Avg | Voltage Ratio at 25cm (unitless) via TDR | 25 | 49425 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
O2_pct | O2, % | 0 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes

## R1P1
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
PTemp_C_Avg | CR1000 panel temperature in deg C |  | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor |  | 0 | yes |  | https://www.hydroshare.org/resource/57a0afc2bb0e42b180478668a565720d/
CO2_50cm_Avg | percent CO2 at 50cm depth | 50 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Vaisala | 0 | yes
CO2_150cm_Avg | percent CO2 at 150cm depth | 150 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Vaisala | 0 | yes
T108_C_0cm_Avg | Soil surface temperature in C | 0 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor |  | 0 | yes
Temp_C_box_Avg | TypeC termocouple temperature inside the datalogger box in deg. C |  | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor |  | 0 | yes
VWC_50cm_Avg | Volumetric water content via TDR at 50cm (m3/m3) | 50 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
EC_50cm_Avg | Electrical conductivity via TDR at 50cm (dS/m) | 50 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
T_TDR50cm_Avg | Temperature at 50cm via TDR deg. C | 50 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
P_50cm_Avg | Bulk dielectric Permittivity at 50cm via TDR (unitless ) | 50 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
PA_50cm_Avg | Period average at 50cm via TDR (μSec) | 50 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
VR_50cm_Avg | Voltage Ratio at 50cm (unitless) via TDR | 50 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
T_O2_50cm_degC_Avg | Temperature at 50cm depth via via O2 sensor deg. C | 50 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
T_O2_150cm_degC_Avg | Temperature at 150cm depth via via O2 sensor deg. C | 150 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
pct_O2_50cm_Avg | Percent oxygen at 50cm depth | 50 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
pct_O2_150cm_Avg | Percent oxygen at 150cm depth | 150 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | Apogee | 0 | yes
T_TDR25cm_Avg | Temperature at 25cm via TDR deg. C | 25 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
VWC_25cm_Avg | Volumetric water content at 25cm via TDR (m3/m3) | 25 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
EC_25cm_Avg | Electrical conductivity at 25cm via TDR (dS/m) | 25 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
P_25cm_Avg | Bulk dielectric Permittivity at 25cm via TDR (unitless ) | 25 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
PA_25cm_Avg | Period average at 25cm via TDR (μSec) | 25 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
VR_25cm_Avg | Voltage Ratio at 25cm (unitless) via TDR | 25 | 39942 | 30 minutes | 2016-03-30 | 2019-06-26 | Sensor | TDR | 0 | yes
O2_pct | O2, % | 0 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 150 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes

## R1P2
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 25 | monthly | 2016-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 20 | monthly | 2016-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R1T1
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R1T2
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R1T3
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R1T4
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 10 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 300 | 10 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 10 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 10 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 10 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 10 | monthly | 2015-07-31 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 10 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 10 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 10 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 10 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 10 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 10 | monthly | 2015-07-31 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R1T5
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R1T6
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R1T7
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R4H1
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-08-20 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-08-20 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R4P1
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R7H1
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Soil geochemistry | oxides, various metals | various (0-800) |  |  | 2016 |  |  | MS or ICP |  |  |  | https://www.hydroshare.org/resource/75de7aa9cc69489a828dc4f4216cefeb/
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]

## R7P1
Variable | Variable notes | Depth | # observations | Frequency | Start date | End date | Method | Model | Rough % of missing data | Continuous? | notes | Link
O2_pct | O2, % | 0 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 50 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly |  | https://www.hydroshare.org/resource/272f43b9d49d44ee97a0d3d143e7a5cc/
O2_pct | O2, % | 150 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 300 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
O2_pct | O2, % | 500 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Apogee | 0 | mostly
CO2_pct | CO2, % | 0 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 50 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 150 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 300 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
CO2_pct | CO2, % | 500 | 30 | monthly | 2015-07-26 | 2017-07-26 | Sensor | Vaisala | 0 | mostly
GC_N2O_ppm | N2O, ppm | 50 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 150 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 300 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_N2O_ppm | N2O, ppm | 500 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 50 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 150 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 300 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CH4_ppm | CH4, ppm | 500 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 50 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 150 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 300 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
GC_CO2_pct | CO2, % | 500 | 25 | monthly | 2015-07-26 | 2017-07-26 | Manual | measured in lab with Varian 450-GC | 0 | mostly
Soil geochemistry | oxides, various metals | various (0-800) |  |  | 2016 |  |  | MS or ICP |  |  |  | https://www.hydroshare.org/resource/75de7aa9cc69489a828dc4f4216cefeb/
Std Count | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes | This data needs to be calibrated for soil moisture | https://www.hydroshare.org/resource/9b7328ab4c914676891fbb8ff65d98c2/
Counts | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
R (Counts/Std) | Soil Moisture | 30, 60, 90, 120, 150, 180, 210, 240, 270, 300, 330, 360, 390, 420, 450, 480 | 370 | monthly | 2016-10-06 | 2018-02-22 | Sensor | CPN 503 Elite Hydroprobe (Instrotek, Inc., Raleigh, NC, USA) | 0 | yes
Formulas:
Start date = [Start date, row above]